## Sheet1
Hey i will paste a html code which is working fine, it is to be named as DSM PSP Generation Calculator.
You are supposed to work on below issues after confirming your understanding.
Under Injection to be classified under one tab.
up to 10%
More than 10%
Over Injection to be classified under one tab.
Up to 10%
More than 10%
This is to be changed across the script as provided above.
Slab wise sumary calculated for under injection and over injection to be changed.
for Under Injection: Amount is paid as per logic defined in html code but it contains penalty : DSM = PPA Rate changed to RR. Excess payment to be classified as penalty and shown accordingly.
For Over Injection: PPA Rate is reduced and RR is calculated. any deduction from PPA Rate being classified as penalty.
pasted below HTML Code.

## General Seller Charges
GENERAL SELLER - DSM CHARGES (CERC Regulation 2024)
Volume Limit (VL1): 10% DGS or 100 MW (whichever is less)
OVER-INJECTION CHARGES (Receivable by Seller)
Deviation Level | Frequency Range | Rate Formula | Rate at Boundary | Example (RR=₹4/kWh) | Remarks
Within VL1 | f = 50.00 Hz | @ RR | 100% RR | ₹4.00/kWh | Reference point
Within VL1 | 50.00 < f ≤ 50.05 Hz | RR - 10% RR per 0.01 Hz | 50% RR at 50.05 Hz | ₹2.00/kWh at 50.05 | Reduced payment at high freq
Within VL1 | 49.90 ≤ f < 50.00 Hz | RR + 1.5% RR per 0.01 Hz | 115% RR at 49.90 Hz | ₹4.60/kWh at 49.90 | Incentive at low freq
Within VL1 | 50.05 < f < 50.10 Hz | @ Zero | Zero | ₹0.00/kWh | No payment
Within VL1 | f ≥ 50.10 Hz | Seller pays @ 10% RR | -10% RR | -₹0.40/kWh (penalty) | Penalty for excess OI
Within VL1 | f < 49.90 Hz | @ 115% RR | 115% RR | ₹4.60/kWh | Flat incentive
Beyond VL1 | f < 50.10 Hz | @ Zero | Zero | ₹0.00/kWh | No payment beyond limit
Beyond VL1 | f ≥ 50.10 Hz | Seller pays @ 10% RR | -10% RR | -₹0.40/kWh (penalty) | Penalty beyond limit
UNDER-INJECTION CHARGES (Payable by Seller)
Deviation Level | Frequency Range | Rate Formula | Rate at Boundary | Example (RR=₹4/kWh) | Remarks
Beyond VL1 | f < 50.10 Hz | @ Zero | Zero | ₹0.00/kWh | No payment beyond limit
Beyond VL1 | f ≥ 50.10 Hz | Seller pays @ 10% RR | -10% RR | -₹0.40/kWh (penalty) | Penalty beyond limit
UNDER-INJECTION CHARGES (Payable by Seller)
Deviation Level | Frequency Range | Rate Formula | Rate at Boundary | Example (RR=₹4/kWh) | Remarks
Within VL1 | f = 50.00 Hz | @ RR | 100% RR | ₹4.00/kWh | Reference point
Within VL1 | 50.00 < f ≤ 50.05 Hz | RR - 3% RR per 0.01 Hz | 85% RR at 50.05 Hz | ₹3.40/kWh at 50.05 | Lower penalty at high freq
Within VL1 | 49.90 ≤ f < 50.00 Hz | RR + 5% RR per 0.01 Hz | 150% RR at 49.90 Hz | ₹6.00/kWh at 49.90 | Steep penalty at low freq
Within VL1 | f > 50.05 Hz | @ 85% RR | 85% RR | ₹3.40/kWh | Flat rate
Within VL1 | f < 49.90 Hz | @ 150% RR | 150% RR | ₹6.00/kWh | Flat steep penalty
Beyond VL1 | f ≥ 50.00 Hz | @ RR | 100% RR | ₹4.00/kWh | Standard rate
Beyond VL1 | 49.90 ≤ f < 50.00 Hz | @ 150% RR | 150% RR | ₹6.00/kWh | Steep penalty
Beyond VL1 | f < 49.90 Hz | @ 200% RR | 200% RR | ₹8.00/kWh | Maximum penalty
KEY DEFINITIONS
Term | Definition
RR | Reference Rate - Contract rate or weighted average ACP of DAM
DGS | Deviation-General Seller in %
VL1 | Volume Limit 1 = 10% DGS or 100 MW (whichever is less)
Frequency Band | Operative frequency band = 49.90 Hz to 50.05 Hz
OI | Over-Injection (Actual > Scheduled)
UI | Under-Injection (Actual < Scheduled)
VOLUME LIMIT DEFINITION & SLAB-WISE CALCULATION
What is Volume Limit (VL1)?
VL1 = MIN(10% of Capacity, 100 MW)
Example: 500 MW plant → VL1 = MIN(50 MW, 100 MW) = 50 MW
Example: 1200 MW plant → VL1 = MIN(120 MW, 100 MW) = 100 MW
Slab Definition | Range | Charge Application
Up to 10% (Within VL1) | 0% to 10% DGS or 0 to VL1 MW | Graded charges based on frequency (see tables above)
More than 10% (Beyond VL1) | > 10% DGS or > VL1 MW | Flat charges (no frequency grading, steeper penalties)
SLAB-WISE CALCULATION METHOD
Step | Formula | Description
1. Calculate Total Deviation | Dev_MW = ¦Actual - Scheduled¦ | Total deviation in MW for the time block
2. Calculate VL1 in MW | VL1_MW = MIN(0.10 × Capacity, 100) | Maximum deviation allowed in first slab
3. Split into Slabs | Slab 1 = MIN(Dev_MW, VL1_MW) | Portion within 10% (up to VL1)
| Slab 2 = MAX(0, Dev_MW - VL1_MW) | Portion beyond 10% (beyond VL1)
4. Apply Rates | Charge = (Slab1 × Rate1 × 0.25) + (Slab2 × Rate2 × 0.25) | Each slab charged at different rate
WORKED EXAMPLE: SLAB-WISE CALCULATION
Parameter | Value
Capacity | 500 MW
Scheduled Generation | 450 MW
Actual Generation | 385 MW
Deviation | 65 MW Under-Injection
Frequency | 49.93 Hz
Reference Rate (RR) | ₹4.00/kWh
Step-by-Step Calculation
Step | Calculation | Result
1. VL1 in MW | MIN(10% × 500, 100) = MIN(50, 100) | VL1 = 50 MW
2. Split Deviation | Within VL1: MIN(65, 50) = 50 MW | Slab 1 (up to 10%) = 50 MW
| Beyond VL1: 65 - 50 = 15 MW | Slab 2 (more than 10%) = 15 MW
3. Rate for Slab 1 | f = 49.93 Hz → 7 steps below 50.00 | Rate1 = RR + (7 × 5% RR) = 135% RR = ₹5.40/kWh
4. Rate for Slab 2 | Beyond VL1, 49.90 ≤ f < 50.00 | Rate2 = 150% RR = ₹6.00/kWh
5. Charge Slab 1 | 50 MW × 0.25 hr × ₹5.40/kWh | ₹67,500
6. Charge Slab 2 | 15 MW × 0.25 hr × ₹6.00/kWh | ₹22,500
7. Total DSM Charge | ₹67,500 + ₹22,500 | ₹90,000 per time block
Key Insight | The first 50 MW (up to 10%) is charged at frequency-graded rate (135% RR)
The remaining 15 MW (more than 10%) is charged at flat steeper rate (150% RR)
This is SLAB-WISE calculation - different portions charged differently

## RoR Hydro Charges
RUN-OF-RIVER (RoR) HYDRO - DSM CHARGES (CERC Regulation 2024)
NOT LINKED TO FREQUENCY - Charges based on volume limits only
Volume Limits: VL1 = 10% DGS or 100 MW ¦ VL2 = 15% DGS or 150 MW (whichever is less)
OVER-INJECTION CHARGES (Receivable by Seller)
Deviation Level | Rate | Example (RR=₹2.80/kWh) | Remarks
Within VL1 | @ RR | ₹2.80/kWh | Full payment within limit
Beyond VL1 | @ Zero | ₹0.00/kWh | No payment beyond VL1
UNDER-INJECTION CHARGES (Payable by Seller)
Deviation Level | Rate | Example (RR=₹2.80/kWh) | Remarks
Within VL1 | @ RR | ₹2.80/kWh | Standard rate within limit
Beyond VL1 up to VL2 | @ 105% RR | ₹2.94/kWh | Moderate penalty
Beyond VL2 | @ 110% RR | ₹3.08/kWh | Higher penalty beyond VL2
KEY FEATURES
Feature | Description
Frequency Link | NO - Charges NOT linked to grid frequency
Rationale | Limited controllability due to water flow dependency
Volume Limits | Two-tier: VL1 (10%/100MW) and VL2 (15%/150MW)
Penalty Level | Moderate (105-110% RR) recognizing operational constraints
Change from 2022 | Maintained RR linkage only (removed NR linkage)

## MSW Generator Charges
MUNICIPAL SOLID WASTE (MSW) - DSM CHARGES (CERC Regulation 2024)
NOT LINKED TO FREQUENCY - Charges based on volume limit only
Volume Limit: 20% DGS
OVER-INJECTION CHARGES (Receivable by Seller)
Deviation Level | Rate | Example (Contract=₹3.50/kWh) | Remarks
Up to 20% DGS | @ Contract Rate | ₹3.50/kWh | Full contract rate within limit
Beyond 20% DGS | @ Zero | ₹0.00/kWh | No payment beyond limit
UNDER-INJECTION CHARGES (Payable by Seller)
Deviation Level | Rate | Example (Contract=₹3.50/kWh) | Remarks
Up to 20% DGS | @ 50% Contract Rate | ₹1.75/kWh | Reduced penalty recognizing fuel variability
Beyond 20% DGS | @ RR (Reference Rate) | @ RR | Standard penalty beyond limit
KEY FEATURES
Feature | Description
Frequency Link | NO - Charges NOT linked to grid frequency
Rationale | Waste availability constraints and fuel variability
Volume Limit | Single tier: 20% DGS
Special Treatment | Reduced under-injection penalty (50% contract rate) within limit
Support Mechanism | Full contract rate for over-injection to encourage waste-to-energy

## Wind-Solar Charges
WIND-SOLAR (WS) SELLERS - DSM CHARGES (CERC Regulation 2024)
NOT LINKED TO FREQUENCY - Symmetrical pricing structure
Effective: August 2024 to March 2026 (Phase 1)
VOLUME LIMITS BY TECHNOLOGY
Generator Type | VL1 | VL2 | VL3 | Beyond VL3
Solar / Hybrid / Aggregated | ≤ 5% DWS | 5-10% DWS | 10-20% DWS | > 20% DWS
Wind | ≤ 10% DWS | 10-15% DWS | 15-25% DWS | > 25% DWS
OVER-INJECTION CHARGES (Receivable by Seller)
Volume Limit | Rate | Solar Example (₹3.50/kWh) | Wind Example (₹4.20/kWh) | Remarks
VL1 | @ 100% Contract Rate | ₹3.50/kWh | ₹4.20/kWh | Full contract rate
VL2 | @ 90% Contract Rate | ₹3.15/kWh | ₹3.78/kWh | 10% reduction
VL3 | @ 50% Contract Rate | ₹1.75/kWh | ₹2.10/kWh | 50% reduction
Beyond VL3 | @ Zero | ₹0.00/kWh | ₹0.00/kWh | No payment
UNDER-INJECTION CHARGES (Payable by Seller)
Volume Limit | Rate | Solar Example (₹3.50/kWh) | Wind Example (₹4.20/kWh) | Remarks
VL1 | @ 100% Contract Rate | ₹3.50/kWh | ₹4.20/kWh | Standard rate
VL2 | @ 110% Contract Rate | ₹3.85/kWh | ₹4.62/kWh | 10% penalty
VL3 | @ 150% Contract Rate | ₹5.25/kWh | ₹6.30/kWh | 50% penalty
Beyond VL3 | @ 200% Contract Rate | ₹7.00/kWh | ₹8.40/kWh | Maximum penalty
DEVIATION CALCULATION FORMULA
Period | Formula
Aug 2024 - Mar 2026 | DWS (%) = 100 × [(Actual - Scheduled) / Available Capacity]
From Apr 2026 | DWS (%) = 100 × [(Actual - Scheduled) / (X% × Available + (100-X)% × Scheduled)]
KEY FEATURES
Feature | Description
Frequency Link | NO - Charges NOT linked to grid frequency
Pricing Structure | SYMMETRICAL - Prevents gaming behavior (over-scheduling)
Aggregation | Through Qualified Coordinating Agency (QCA) at pooling stations
Tolerance Reduction | Solar: ±10% to ±5% ¦ Wind: ±15% to ±10% (due to aggregation benefits)
Change from 2022 | Shifted from asymmetric to symmetric pricing
Available Capacity | Capacity capable of generating at that time block (not installed capacity)

## Comparison Summary
COMPARATIVE SUMMARY - ALL SELLER CATEGORIES (CERC DSM 2024)
Generator Type | Frequency Link | Volume Limits | Max Penalty (UI) | Max Incentive (OI) | Key Feature
General Seller (Thermal/Gas/Nuclear) | YES - Graded within 49.90-50.05 Hz | VL1: 10% DGS or 100 MW | 200% RR (beyond VL1, f<49.90) | 115% RR (within VL1, f<49.90) | Frequency-responsive graded charges
RoR Hydro | NO | VL1: 10% DGS/100 MW, VL2: 15% DGS/150 MW | 110% RR (beyond VL2) | 100% RR (within VL1) | Recognizes limited controllability
MSW (Waste-to-Energy) | NO | 20% DGS | 100% RR (beyond limit) | 100% Contract (within limit) | Reduced UI penalty (50% within limit)
Solar / Hybrid / Aggregated | NO | VL1: 5%, VL2: 10%, VL3: 20% DWS | 200% Contract (beyond VL3) | 100% Contract (within VL1) | Symmetrical pricing, tighter tolerance
Wind | NO | VL1: 10%, VL2: 15%, VL3: 25% DWS | 200% Contract (beyond VL3) | 100% Contract (within VL1) | Symmetrical pricing
REFERENCE RATE (RR) DEFINITION BY CATEGORY
Seller Type | Reference Rate (RR) Definition
General Seller with PPA | Contract rate as per PPA
General Seller without contract | Weighted average ACP of Day-Ahead Market (I-DAM)
General Seller in HP-DAM | Weighted average ACP of High-Price DAM segments
RoR Hydro | Contract rate or weighted average ACP (as applicable)
MSW | Contract rate
Wind-Solar | Contract rate (or weighted average for aggregated sellers)
NORMAL RATE (NR) CALCULATION
Component | Weight | Description
I-DAM ACP | 1/3 | Weighted average Area Clearing Price - Integrated Day-Ahead Market
RTM ACP | 1/3 | Weighted average Area Clearing Price - Real-Time Market
AS Charge | 1/3 | Ancillary Service Charge (excluded if no AS dispatched or net receivable)
Formula | NR = (1/3 × I-DAM ACP) + (1/3 × RTM ACP) + (1/3 × AS Charge)
MAJOR CHANGES FROM DSM 2022 TO DSM 2024
Aspect | DSM 2022 | DSM 2024 | Rationale
Normal Rate | Highest of I-DAM, RTM, or HP-DAM | Weighted average (1/3 each) I-DAM, RTM, AS | Include true system balancing costs
General Seller VL | OI: 10%/100MW, UI: 10-15%/100-150MW | Unified: 10%/100MW (VL1) | Simplification
WS Tolerance | Solar: ±10%, Wind: ±15% | Solar: ±5%, Wind: ±10% | Aggregation benefits
WS Pricing | Asymmetric (encouraged over-scheduling) | Symmetric | Prevent gaming behavior
Frequency Grading | Constant rates within sub-bands | Continuous grading within 49.90-50.05 Hz | Precise price signals
Beyond VL Penalties | Moderate escalation | Steeper (200% RR/Contract) | Discourage grid reliance

## Payment & Settlement
PAYMENT MECHANISM AND SETTLEMENT PROCESS
SETTLEMENT TIMELINE
Day | Activity | Responsible Party | Deadline
Monday-Sunday | RLDC records actual generation (15-min blocks) | RLDC | Real-time
Thursday | RLDC submits weekly deviation data | RLDC | By Thursday
Following Tuesday | Secretariat issues statement of charges | Regional Power Committee | By Tuesday
Tuesday + 10 days | Payment due | All regional entities | Within 10 days
If delayed | Late payment surcharge applied | Defaulting entity | 0.04% per day
DEVIATION & ANCILLARY SERVICE POOL ACCOUNT
Credits (Receipts) | Charges (Payments)
Payments from sellers for under-injection | Payments to sellers for over-injection
Payments from buyers for over-drawal | Payments to buyers for under-drawal
Late payment surcharges | Costs of dispatched SRAS-Up and TRAS-Up
Payments from SRAS/TRAS providers for down services | Variable, energy, compensation charges for AS
LETTER OF CREDIT (LC) REQUIREMENTS
Applicability | Details
Who must provide LC | Entities that failed to pay DSM charges in previous financial year
LC Amount | 110% of average weekly payable liability from previous financial year
Beneficiary | Concerned Regional Load Despatch Centre (RLDC)
Validity | Entire current financial year
Encashment trigger | Non-payment within 10 days of statement issuance
Replenishment | Within 3 days of encashment
INFIRM POWER PROVISIONS
Stage | Treatment | Charges
Before trial run completion | Must be scheduled with RLDC approval | Zero charges for infirm power injection
After trial run - OI at f>50.05 Hz | Over-injection during high frequency | Zero charges
After trial run - OI at f≤50.05 Hz | Over-injection during normal/low frequency | As per applicable generator category
After trial run - Under-injection | Under-injection charges | As per applicable generator category
Limitation | Limited to testing & commissioning only | Prolonged infirm injection prohibited

## Calculation Examples
DSM CHARGE CALCULATION EXAMPLES
EXAMPLE 1: GENERAL SELLER - UNDER-INJECTION WITHIN VL1
Parameter | Value
Generator Type | 500 MW Thermal Plant
Scheduled Generation | 450 MW
Actual Generation | 420 MW
Deviation | -30 MW (Under-injection)
Deviation % | 6% DGS (within VL1 of 10%)
System Frequency | 49.92 Hz
Reference Rate (RR) | ₹4.00/kWh
Calculation Steps
Step | Formula | Result
1. Calculate VL1 | MIN(10% × 500, 100) = MIN(50, 100) | VL1 = 50 MW
2. Check volume limit | 30 MW < 50 MW (VL1) | Entire deviation within VL1 - graded charges apply
3. Frequency deviation | 50.00 - 49.92 = 0.08 Hz | 8 steps of 0.01 Hz below 50.00
4. Rate calculation | RR + (8 × 5% RR) | ₹4.00 + (8 × ₹0.20) = ₹5.60/kWh
5. Alternate formula | RR × (100% + 40%) | ₹4.00 × 140% = ₹5.60/kWh
6. Energy deviation | 30 MW × 0.25 hr (15-min block) | 7.5 MWh
7. Total charge | 7.5 MWh × ₹5.60/kWh | ₹42,000 per time block
Interpretation | Entire 30 MW deviation within first slab (up to 10%), charged at frequency-graded rate of 140% RR
EXAMPLE 1A: GENERAL SELLER - UNDER-INJECTION BEYOND VL1 (SLAB-WISE)
Parameter | Value
Generator Type | 500 MW Thermal Plant
Scheduled Generation | 450 MW
Actual Generation | 385 MW
Deviation | -65 MW (Under-injection)
Deviation % | 13% DGS (beyond VL1 of 10%)
System Frequency | 49.93 Hz
Reference Rate (RR) | ₹4.00/kWh
Slab-Wise Calculation Steps
Step | Formula | Result
1. Calculate VL1 | MIN(10% × 500, 100) = MIN(50, 100) | VL1 = 50 MW
2. Split into slabs | Slab 1 (up to 10%): MIN(65, 50) | 50 MW within VL1
| Slab 2 (more than 10%): 65 - 50 | 15 MW beyond VL1
3. Rate for Slab 1 | f = 49.93 Hz → 7 steps below 50.00 | RR + (7 × 5% RR) = 135% RR = ₹5.40/kWh
4. Rate for Slab 2 | Beyond VL1, 49.90 ≤ f < 50.00 | 150% RR = ₹6.00/kWh (flat, no grading)
5. Charge Slab 1 | 50 MW × 0.25 hr × ₹5.40/kWh | ₹67,500
6. Charge Slab 2 | 15 MW × 0.25 hr × ₹6.00/kWh | ₹22,500
7. Total DSM charge | ₹67,500 + ₹22,500 | ₹90,000 per time block
Interpretation | First 50 MW (up to 10%) charged at frequency-graded 135% RR. Remaining 15 MW (more than 10%) charged at flat steeper 150% RR. This demonstrates SLAB-WISE calculation.
EXAMPLE 2: SOLAR GENERATOR - OVER-INJECTION WITHIN TOLERANCE
Parameter | Value
Generator Type | 100 MW Solar Plant
Scheduled Generation | 80 MW
Actual Generation | 84 MW
Available Capacity | 95 MW (cloudy conditions)
Deviation | +4 MW (Over-injection)
Deviation % | 4.21% DWS (within VL1 of 5%)
Contract Rate | ₹3.50/kWh
Calculation Steps
Step | Formula | Result
1. Deviation calculation | [(84 - 80) / 95] × 100 | 4.21% DWS
2. Check volume limit | 4.21% < 5% VL1 | Within VL1 - full contract rate
3. Applicable rate | 100% Contract Rate | ₹3.50/kWh
4. Energy deviation | 4 MW × 0.25 hr | 1 MWh
5. Total payment | 1 MWh × ₹3.50/kWh | ₹3,500 receivable per time block
Interpretation | Solar generator receives full contract rate as deviation within tolerance band
EXAMPLE 3: WIND GENERATOR - UNDER-INJECTION BEYOND VL3
Parameter | Value
Generator Type | 150 MW Wind Farm
Scheduled Generation | 120 MW
Actual Generation | 75 MW
Available Capacity | 140 MW (wind conditions)
Deviation | -45 MW (Under-injection)
Deviation % | 32.14% DWS (beyond VL3 of 25%)
Contract Rate | ₹4.20/kWh
Calculation Steps
Step | Formula | Result
1. Deviation calculation | [(75 - 120) / 140] × 100 | 32.14% DWS
2. Check volume limits | 32.14% > 25% VL3 | Beyond VL3 - maximum penalty
3. Applicable rate | 200% Contract Rate | ₹4.20 × 200% = ₹8.40/kWh
4. Energy deviation | 45 MW × 0.25 hr | 11.25 MWh
5. Total charge | 11.25 MWh × ₹8.40/kWh | ₹94,500 payable per time block
Interpretation | Severe penalty for large under-injection beyond all tolerance limits - encourages better forecasting
EXAMPLE 4: RoR HYDRO - OVER-INJECTION BEYOND VL1
Parameter | Value
Generator Type | 200 MW RoR Hydro Station
Scheduled Generation | 150 MW
Actual Generation | 178 MW
Deviation | +28 MW (Over-injection)
Deviation % | 14% DGS (beyond VL1 of 10%)
Reference Rate | ₹2.80/kWh
Calculation Steps
Step | Formula | Result
1. Deviation calculation | (28 / 200) × 100 | 14% DGS
2. Check volume limit | 14% > 10% VL1 | Beyond VL1 - no payment for RoR
3. Applicable rate | Zero (beyond VL1) | ₹0.00/kWh
4. Total payment | No payment | ₹0 receivable
Interpretation | RoR station receives no payment for excessive over-injection beyond volume limit, despite increased water flow

## Glossary
GLOSSARY OF TERMS - DSM REGULATIONS
Term | Abbreviation | Definition
Area Clearing Price | ACP | Market clearing price at power exchanges for specific area
Automatic Generation Control | AGC | Secondary frequency control mechanism - automatic response
Ancillary Services | AS | Grid support services for frequency and voltage regulation
Central Electricity Regulatory Commission | CERC | National power sector regulator for inter-state transactions
Deviation-General Seller | DGS | Deviation expressed as percentage for general sellers
Deviation Settlement Mechanism | DSM | Commercial framework for managing generation/drawal deviations
Deviation-WS Seller | DWS | Deviation expressed as percentage for wind-solar sellers
Free Governor Mode Operation | FGMO | Automatic frequency response mode - mandatory for generators
High-Price Day-Ahead Market | HP-DAM | Market segment for high-cost generators on power exchanges
Integrated Day-Ahead Market | I-DAM | Combined day-ahead trading platform across exchanges
Indian Electricity Grid Code | IEGC | Technical standards for grid operations and compliance
Municipal Solid Waste | MSW | Waste-based power generation category
Normal Rate | NR | Weighted average of I-DAM, RTM, and AS charges (1/3 each)
Over-Injection | OI | Actual generation exceeds scheduled generation (positive deviation)
Power Purchase Agreement | PPA | Long-term electricity supply contract between generator and buyer
Qualified Coordinating Agency | QCA | Entity managing renewable energy aggregation at pooling stations
Regulation Ancillary Service | RAS | Automatic frequency regulation service - fast-ramping capability
Regional Load Despatch Centre | RLDC | Regional grid operations center - manages real-time dispatch
Run-of-River | RoR | Hydro generation without significant storage - flow-dependent
Reference Rate | RR | Contract rate or market-based rate applicable to generator
Real-Time Market | RTM | Intra-day electricity trading market - gate closure before delivery
Supervisory Control & Data Acquisition | SCADA | Real-time monitoring and control system for power plants
Supplementary Reserve Ancillary Service | SRAS | Tertiary frequency control - manual dispatch within 10 minutes
Under-Injection | UI | Actual generation falls short of scheduled generation (negative deviation)
Volume Limit | VL / VL1 / VL2 / VL3 | Threshold for deviation charge escalation - varies by generator type
Wind-Solar Seller | WS Seller | Renewable energy generator (wind, solar, or hybrid technology)
FREQUENCY TERMINOLOGY
Term | Range | Meaning
Normal Frequency | 50.00 Hz | Perfect generation-demand balance - reference point
Operative Frequency Band | 49.90 - 50.05 Hz | Acceptable operating range - graded charges apply
Low Frequency | < 50.00 Hz | Generation deficit - demand exceeds supply
Severe Deficit | < 49.90 Hz | Critical generation shortage - steep penalties for UI
High Frequency | > 50.00 Hz | Generation surplus - supply exceeds demand
Severe Surplus | > 50.05 Hz | Excessive generation - reduced/zero payments for OI
Critical High Frequency | ≥ 50.10 Hz | Very high surplus - penalties for over-injection
REGULATORY REFERENCES
Document | Effective Date | Key Change
CERC DSM Regulations 2024 | August 5, 2024 | Current regulations - symmetrical pricing, AS integration
CERC DSM Regulations 2022 | December 5, 2022 | Previous regulations - superseded by 2024 version
CERC DSM Amendment Dec 2024 | December 23, 2024 | Infirm power clarifications
IEGC 2023 | October 1, 2023 | Grid code requiring FGMO and aggregation at pooling stations
Proposed DSM Amendment 2026 | April 1, 2026 (proposed) | Phased schedule-based deviation formula for WS sellers